## IMONI-0047_TTiMBLE26000K004_24_
IMONI ASSEMBLY TEST REPORT
Report No: | iMoni-SRMS-0098
PCB Serial No. | sef
DateTime: | 11/09/26 14:13:13
TestLevel: | iMoni Assembly
TotalTests: | 192.168.0.1
|  | sdf | adf | dadf | adf
Sr. No. | TestName | Status | Total Checks | Reason | Remarks
1 | Visual Test | PASSED |  | Visual inspection passed successfully
2 | Burn-In Test | PASSED |  | Burn-In test passed successfully
3 | Fan Test | PASSED | 9
4 | Limit Switch Test | PASSED | 3
5 | Fire Alarm Test | PASSED | 3
6 | Water Leakage Test | PASSED | 3
7 | EM Lock through Keypad | PASSED | 3
8 | Water Logging Test | PASSED | 3
9 | Humidity Test | PASSED | 1
OPERATOR: |  |  | APPROVED BY: