## IMONI-0047_TTiMBLE26000K004_24_
IMONI ASSEMBLY TEST REPORT
Report No: | iMoni-SRMS-0023
Assembly Sr. No. | TTiMGPE26000K023
DateTime: | 06/08/26 12:43:07
TestLevel: | iMoni Assembly
DeviceIP: | 192.168.0.90 | CPU Sr. No. | Base PCB Sr. No. | Camera Sr. No. | PSU Sr. No.
TotalTests: | 7 | 90 | 64 | 23 | LB/F/26/9238
Sr. No. | TestName | Status | Total Checks | Reason | Remarks
1 | Water Leakage Test | PASSED | 3 | Water Leakage alarm off successfully
2 | Water Logging Test | PASSED | 3 | Water Logging alarm off successfully
3 | Humidity Test | PASSED | 2 | Humidity alarm successfully
4 | Inside Temperature Test | PASSED | 2 | Inside Temperature sensor successfully tested
5 | Outside Temperature Test | PASSED | 2 | Outside Temperature alarm successfully
6 | Non - Critical Load Test | PASSED | 3 | Door alarm went off successfully
7 | Fan-Fail Test Test | PASSED | 2 | Fan 1 Wire removed successfully
OPERATOR: |  |  | APPROVED BY: