## IMONI-0047_TTiMBLE26000K004_24_
IMONI ASSEMBLY TEST REPORT
Report No: | iMoni-SRMS-0024
Assembly Sr. No. | TTiMGPE26000K025
DateTime: | 06/08/26 14:28:57
TestLevel: | iMoni Assembly
DeviceIP: | 192.168.0.90 | CPU Sr. No. | Base PCB Sr. No. | Camera Sr. No. | PSU Sr. No.
TotalTests: | 5 | 43 | 63 | 83 | LB/F/26/9166
Sr. No. | TestName | Status | Total Checks | Reason | Remarks
1 | Fan Test | FAILED | 9 | Some fans are still running. Turn off all fans first.
2 | Limit Switch Test | FAILED | 1 | Door is still open. Close the door first.
3 | Fire Alarm Test | FAILED | 1 | Fire Alarm already ON
4 | Water Leakage Test | FAILED | 1 | Water Leakage already ON
5 | EM Lock through Keypad | FAILED | 1 | Door is already open
OPERATOR: |  |  | APPROVED BY: