## IMONI-0047_TTiMBLE26000K004_24_
IMONI ASSEMBLY TEST REPORT
Report No: | iMoni-SRMS-0039
Assembly Sr. No. | TTiMGPE26000K027
DateTime: | 06/08/26 16:06:15
TestLevel: | iMoni Assembly
DeviceIP: | 192.168.0.41 | CPU Sr. No. | Base PCB Sr. No. | Camera Sr. No. | PSU Sr. No.
TotalTests: | 3 | 41 | 56 | 77 | LB/F/26/9273
Sr. No. | TestName | Status | Total Checks | Reason | Remarks
1 | Non - Critical Load Test | PASSED | 3 | Door alarm went off successfully
2 | Outside Temperature Test | PASSED | 2 | Outside Temperature alarm successfully
3 | Inside Temperature Test | PASSED | 2 | Inside Temperature sensor successfully tested
OPERATOR: |  |  | APPROVED BY: