## IMONI-0047_TTiMBLE26000K004_24_
IMONI ASSEMBLY TEST REPORT
Report No: | iMoni-SRMS-0047
Assembly Sr. No. | TTiMGPE26000K034
DateTime: | 07/08/26 13:12:45
TestLevel: | iMoni Assembly
DeviceIP: | 192.168.0.113 | CPU Sr. No. | Base PCB Sr. No. | Camera Sr. No. | PSU Sr. No.
TotalTests: | 3 | 113 | 55 | 57 | LB/F/26/9134
Sr. No. | TestName | Status | Total Checks | Reason | Remarks
1 | Fire Alarm Test | PASSED | 3 | Fire alarm turned off successfully
2 | EM Lock through eMS | FAILED | 2 | Door not opened
3 | EM Lock through Keypad | FAILED | 2 | Door not opened
OPERATOR: |  |  | APPROVED BY: