## IMONI-0047_TTiMBLE26000K004_24_
IMONI ASSEMBLY TEST REPORT
Report No: | iMoni-SRMS-0059
Assembly Sr. No. | TTiMGPE26000K036
DateTime: | 07/08/26 16:30:23
TestLevel: | iMoni Assembly
DeviceIP: | unknown-device | CPU Sr. No. | Base PCB Sr. No. | Camera Sr. No. | PSU Sr. No.
TotalTests: | 10 | 65 | 28 | 56 | LB/F/26/9139
Sr. No. | TestName | Status | Total Checks | Reason | Remarks
1 | Fan Test | FAILED |  | ❌ Test FAILED: No connected devices available
2 | Limit Switch Test | FAILED |  | ❌ Test FAILED: No connected devices available
3 | Fire Alarm Test | FAILED |  | ❌ Test FAILED: No connected devices available
4 | Water Leakage Test | FAILED |  | ❌ Test FAILED: No connected devices available
5 | Water Logging Test | FAILED |  | ❌ Test FAILED: No connected devices available
6 | EM Lock through eMS | FAILED |  | ❌ Test FAILED: No connected devices available
7 | EM Lock through Keypad | FAILED |  | ❌ Test FAILED: No connected devices available
8 | Humidity Test | FAILED |  | ❌ Test FAILED: No connected devices available
9 | Outside Temperature Test | FAILED |  | ❌ Test FAILED: No connected devices available
10 | Fan-Fail Test Test | FAILED |  | ❌ Test FAILED: No connected devices available
OPERATOR: |  |  | APPROVED BY: