## IMONI-0047_TTiMBLE26000K004_24_
IMONI ASSEMBLY TEST REPORT
Report No: | iMoni-SRMS-0066
Assembly Sr. No. | TTiMGPE26000K037
DateTime: | 07/08/26 17:00:33
TestLevel: | iMoni Assembly
DeviceIP: | 192.168.0.96 | CPU Sr. No. | Base PCB Sr. No. | Camera Sr. No. | PSU Sr. No.
TotalTests: | 3 | 96 | 97 | 59 | LB/F/26/9269
Sr. No. | TestName | Status | Total Checks | Reason | Remarks
1 | Fire Alarm Test | PASSED | 3 | Fire alarm turned off successfully
2 | EM Lock through Keypad | PASSED | 3 | Door closed successfully
3 | Fan-Fail Test Test | FAILED | 2 | Fan 1 wire not removed
OPERATOR: |  |  | APPROVED BY: