## IMONI-0047_TTiMBLE26000K004_24_
IMONI ASSEMBLY TEST REPORT
Report No: | iMoni-SRMS-0070
Assembly Sr. No. | TTiMGPE26000K038
DateTime: | 07/08/26 17:19:22
TestLevel: | iMoni Assembly
DeviceIP: | 192.168.0.48 | CPU Sr. No. | Base PCB Sr. No. | Camera Sr. No. | PSU Sr. No.
TotalTests: | 3 | 48 | 42 | 52 | LB/F/26/9171
Sr. No. | TestName | Status | Total Checks | Reason | Remarks
1 | Fire Alarm Test | PASSED | 3 | Fire alarm turned off successfully
2 | Water Leakage Test | PASSED | 3 | Water Leakage alarm off successfully
3 | EM Lock through Keypad | PASSED | 3 | Door closed successfully
OPERATOR: |  |  | APPROVED BY: