## IMONI-0047_TTiMBLE26000K004_24_
IMONI ASSEMBLY TEST REPORT
Report No: | iMoni-SRMS-0080
Assembly Sr. No. | TTiMGPE26000K043
DateTime: | 08/08/26 14:38:22
TestLevel: | iMoni Assembly
DeviceIP: | 192.168.0.91 | CPU Sr. No. | Base PCB Sr. No. | Camera Sr. No. | PSU Sr. No.
TotalTests: | 2 | 91 | 77 | 55 | LB/F/26/9067
Sr. No. | TestName | Status | Total Checks | Reason | Remarks
1 | Fire Alarm Test | PASSED | 3 | Fire alarm turned off successfully
2 | Limit Switch Test | PASSED | 3 | Door alarm went off successfully
OPERATOR: |  |  | APPROVED BY: