## IMONI-0047_TTiMBLE26000K004_24_
IMONI ASSEMBLY TEST REPORT
Report No: | iMoni-SRMS-0090
Assembly Sr. No. | Testing Parallel
DateTime: | 08/08/26 23:11:34
TestLevel: | iMoni Assembly
DeviceIP: | 192.168.0.1 | CPU Sr. No. | Base PCB Sr. No. | Camera Sr. No. | PSU Sr. No.
TotalTests: | 2 | xxx | xxx | xxx | xxx
Sr. No. | TestName | Status | Total Checks | Reason | Remarks
1 | Fan Test | FAILED | 9 | Fan Group 1 not turned on
2 | Limit Switch Test | FAILED | 1 | Door is still open. Close the door first.
OPERATOR: |  |  | APPROVED BY: