## IMONI-0047_TTiMBLE26000K004_24_
IMONI ASSEMBLY TEST REPORT
Report No: | iMoni-SRMS-0095
Assembly Sr. No. | test_parallel
DateTime: | 10/08/26 14:09:51
TestLevel: | iMoni Assembly
DeviceIP: | 192.168.0.88 | CPU Sr. No. | Base PCB Sr. No. | Camera Sr. No. | PSU Sr. No.
TotalTests: | 4 | test | test | test | test
Sr. No. | TestName | Status | Total Checks | Reason | Remarks
1 | Fan Test | FAILED | 9 | Fan Group 1 not turned on
2 | Limit Switch Test | FAILED | 1 | Door is still open. Close the door first.
3 | Water Leakage Test | FAILED | 1 | Water Leakage already ON
4 | Water Logging Test | FAILED | 2 | Water Logging alarm not turned on
OPERATOR: |  |  | APPROVED BY: