## IMONI-0047_TTiMBLE26000K004_24_
IMONI ASSEMBLY TEST REPORT
Report No: | iMoni-SRMS-0104
Assembly Sr. No. | adf
DateTime: | 25/09/26 21:57:54
TestLevel: | iMoni Assembly
DeviceIP: | unknown-device | CPU Sr. No. | Base PCB Sr. No. | Camera Sr. No. | PSU Sr. No.
TotalTests: | 12 | adf | adf | adf | adf
Sr. No. | TestName | Status | Total Checks | Reason | Remarks
1 | Visual Test | PASSED |  | Visual inspection passed successfully
2 | Burn-In Test | PASSED |  | Burn-In test passed successfully
3 | Fan Test | FAILED |  | ❌ Test FAILED: No connected devices available
4 | Water Leakage Test | FAILED |  | ❌ Test FAILED: No connected devices available
5 | Water Logging Test | FAILED |  | ❌ Test FAILED: No connected devices available
6 | Fan-Fail Test Test | FAILED |  | ❌ Test FAILED: No connected devices available
7 | Fire Alarm Test | FAILED |  | ❌ Test FAILED: No connected devices available
8 | EM Lock through Keypad | FAILED |  | ❌ Test FAILED: No connected devices available
9 | Humidity Test | FAILED |  | ❌ Test FAILED: No connected devices available
10 | Door Test | FAILED |  | ❌ Test FAILED: No connected devices available
11 | EM Lock through eMS | FAILED |  | ❌ Test FAILED: No connected devices available
12 | Outside Temperature Test | FAILED |  | ❌ Test FAILED: No connected devices available
OPERATOR: |  |  | APPROVED BY: