## IMONI-0047_TTiMBLE26000K004_24_
GREEN PCB TEST REPORT
Report No: | IMONI-0054
Unit Sr No: | 0045
DateTime: | 22/06/26 14:21:08
TestLevel: | Green PCB
TotalTests: | 1
Sr. No. | TestName | Status | FailedStep | TotalSteps | Reason | Remarks
1 | Fire Alarm Test | FAILED | 2 | 3 | Fire Alarm not turned on