## IMONI-0047_TTiMBLE26000K004_24_
Report No: | IMONI-0048
Unit Sr No: | TTiMBLE26000K005
CPU Sr. No.: | 4
DateTime: | 2026-05-25 12:55
TestLevel: | SRMS Unit
DeviceIP: | 192.168.0.4
TotalTests: | 15
Sr. No. | TestName | Status | FailedStep | TotalSteps | Reason | Remarks
1 | Visual Test | PASSED |  |  | Visual inspection passed successfully
2 | Burn-In Test | PASSED |  |  | Burn-In test passed successfully
3 | Fan Test | PASSED
4 | Limit Switch Test | PASSED
5 | Fire Alarm Test | PASSED
6 | Water Leakage Test | PASSED
7 | EM Lock through Keypad | PASSED
8 | EM Lock through eMS | PASSED
9 | Water Logging Test | PASSED
10 | Humidity Test | PASSED
11 | Inside Temperature Test | PASSED
12 | Outside Temperature Test | PASSED
13 | Non - Critical Load Test | PASSED
14 | Camera Test | PASSED
15 | Fan-Fail Test Test | PASSED
16 | HUPS | PASSED