## IMONI-0047_TTiMBLE26000K004_24_
IMONI TEST REPORT
Report No: | IMONI-0057
Unit Sr No: | TTiMGPK25000K025
CPU Sr. No.: | NA
DateTime: | 22/06/26 14:26:52
TestLevel:
DeviceIP: | 192.168.0.0
TotalTests: | 2
Sr. No. | TestName | Status | FailedStep | TotalSteps | Reason | Remarks
1 | Fire Alarm Test | FAILED | 2 | 3 | Fire Alarm not turned on
2 | Water Leakage Test | FAILED | 2 | 3 | Water Leakage alarm not turned on