## IMONI-0047_TTiMBLE26000K004_24_
IMONI ASSEMBLY TEST REPORT
Report No: | iMoni-SRMS-0012
Assembly Sr. No. | TTiMGPE26000K017
DateTime: | 04/08/26 12:11:26
TestLevel: | iMoni Assembly
DeviceIP: | 192.168.0.87 | CPU Sr. No. | Base PCB Sr. No. | Camera Sr. No. | PSU Sr. No.
TotalTests: | 12 | 87 | 83 | 28 | LB/F/26/9189
Sr. No. | TestName | Status | Total Checks | Reason | Remarks
1 | Fan Test | PASSED | 9 | Fan Group 3 turned off successfully
2 | Limit Switch Test | PASSED | 3 | Door alarm went off successfully
3 | Fire Alarm Test | PASSED | 3 | Fire alarm turned off successfully
4 | Water Leakage Test | PASSED | 3 | Water Leakage alarm off successfully
5 | EM Lock through Keypad | PASSED | 3 | Door closed successfully
6 | EM Lock through eMS | FAILED | 3 | Door not opened
7 | Water Logging Test | PASSED | 3 | Water Logging alarm off successfully
8 | Humidity Test | FAILED | 1 | Humidity alarm not turned on
9 | Inside Temperature Test | PASSED | 1 | Inside Temperature sensor successfully tested
10 | Outside Temperature Test | PASSED | 1 | Outside Temperature alarm successfully
11 | Non - Critical Load Test | PASSED | 3 | Door alarm went off successfully
12 | Fan-Fail Test Test | FAILED | 2 | Fan 1 wire not removed
OPERATOR: |  |  | APPROVED BY: