## IMONI-0047_TTiMBLE26000K004_24_
IMONI ASSEMBLY TEST REPORT
Report No: | iMoni-SRMS-0013
Assembly Sr. No. | TTiMGPE26000K017
DateTime: | 04/08/26 12:17:30
TestLevel: | iMoni Assembly
DeviceIP: | 192.168.0.87 | CPU Sr. No. | Base PCB Sr. No. | Camera Sr. No. | PSU Sr. No.
TotalTests: | 3 | 87 | 83 | 28 | LB/F/26/9189
Sr. No. | TestName | Status | Total Checks | Reason | Remarks
1 | EM Lock through eMS | PASSED | 3 | Door closed successfully
2 | Humidity Test | PASSED | 1 | Humidity alarm successfully
3 | Fan-Fail Test Test | PASSED | 2 | Fan 1 Wire removed successfully
OPERATOR: |  |  | APPROVED BY: