## IMONI-0047_TTiMBLE26000K004_24_
IMONI ASSEMBLY TEST REPORT
Report No: | iMoni-SRMS-0022
Assembly Sr. No. | TTiMGPE26000K023
DateTime: | 06/08/26 12:36:05
TestLevel: | iMoni Assembly
DeviceIP: | 192.168.0.90 | CPU Sr. No. | Base PCB Sr. No. | Camera Sr. No. | PSU Sr. No.
TotalTests: | 5 | 90 | 64 | 23 | LB/F/26/9238
Sr. No. | TestName | Status | Total Checks | Reason | Remarks
1 | Fan Test | PASSED | 9 | Fan Group 4 turned off successfully
2 | Limit Switch Test | PASSED | 3 | Door alarm went off successfully
3 | Fire Alarm Test | PASSED | 3 | Fire alarm turned off successfully
4 | EM Lock through Keypad | PASSED | 3 | Door closed successfully
5 | EM Lock through eMS | PASSED | 3 | Door closed successfully
OPERATOR: |  |  | APPROVED BY: