## IMONI-0047_TTiMBLE26000K004_24_
IMONI ASSEMBLY TEST REPORT
Report No: | iMoni-SRMS-0044
Assembly Sr. No. | TTiMGPE26000K033
DateTime: | 06/08/26 18:20:24
TestLevel: | iMoni Assembly
DeviceIP: | 192.168.0.20 | CPU Sr. No. | Base PCB Sr. No. | Camera Sr. No. | PSU Sr. No.
TotalTests: | 2 | 100 | 95 | 65 | LB/F/26/GP33
Sr. No. | TestName | Status | Total Checks | Reason | Remarks
1 | EM Lock through eMS | PASSED | 3 | Door closed successfully
2 | Outside Temperature Test | PASSED | 2 | Outside Temperature alarm successfully
OPERATOR: |  |  | APPROVED BY: