## IMONI-0047_TTiMBLE26000K004_24_
IMONI ASSEMBLY TEST REPORT
Report No: | iMoni-SRMS-0051
Assembly Sr. No. | TTiMGPE26000K035
DateTime: | 07/08/26 15:27:13
TestLevel: | iMoni Assembly
DeviceIP: | 192.168.0.123 | CPU Sr. No. | Base PCB Sr. No. | Camera Sr. No. | PSU Sr. No.
TotalTests: | 11 | 123 | 71 | 53 | LB/F/26/9089
Sr. No. | TestName | Status | Total Checks | Reason | Remarks
1 | Fan Test | PASSED | 9 | Fan Group 4 turned off successfully
2 | Limit Switch Test | FAILED | 2 | Door alarm did not trigger within time
3 | Fire Alarm Test | PASSED | 3 | Fire alarm turned off successfully
4 | Water Leakage Test | PASSED | 3 | Water Leakage alarm off successfully
5 | Water Logging Test | PASSED | 3 | Water Logging alarm off successfully
6 |  | STOPPED |  | Test stopped by user
7 |  | STOPPED |  | Test stopped by user
8 |  | STOPPED |  | Test stopped by user
9 |  | STOPPED |  | Test stopped by user
10 |  | STOPPED |  | Test stopped by user
11 |  | STOPPED |  | Test stopped by user
OPERATOR: |  |  | APPROVED BY: