## IMONI-0047_TTiMBLE26000K004_24_
IMONI ASSEMBLY TEST REPORT
Report No: | iMoni-SRMS-0053
Assembly Sr. No. | TTiMGPE26000K035
DateTime: | 07/08/26 15:49:37
TestLevel: | iMoni Assembly
DeviceIP: | unknown-device | CPU Sr. No. | Base PCB Sr. No. | Camera Sr. No. | PSU Sr. No.
TotalTests: | 6 | 123 | 71 | 53 | LB/F/26/9089
Sr. No. | TestName | Status | Total Checks | Reason | Remarks
1 | EM Lock through eMS | FAILED |  | ❌ Test FAILED: No connected devices available
2 | EM Lock through Keypad | FAILED |  | ❌ Test FAILED: No connected devices available
3 | Humidity Test | FAILED |  | ❌ Test FAILED: No connected devices available
4 | Outside Temperature Test | FAILED |  | ❌ Test FAILED: No connected devices available
5 | Non - Critical Load Test | FAILED |  | ❌ Test FAILED: No connected devices available
6 | Fan-Fail Test Test | FAILED |  | ❌ Test FAILED: No connected devices available
OPERATOR: |  |  | APPROVED BY: