## IMONI-0047_TTiMBLE26000K004_24_
IMONI ASSEMBLY TEST REPORT
Report No: | iMoni-SRMS-0055
Assembly Sr. No. | TTiMGPE26000K035
DateTime: | 07/08/26 16:02:12
TestLevel: | iMoni Assembly
DeviceIP: | 192.168.0.123 | CPU Sr. No. | Base PCB Sr. No. | Camera Sr. No. | PSU Sr. No.
TotalTests: | 4 | 123 | 71 | 53 | LB/F/26/9089
Sr. No. | TestName | Status | Total Checks | Reason | Remarks
1 | EM Lock through eMS | PASSED | 3 | Door closed successfully
2 | EM Lock through Keypad | PASSED | 3 | Door closed successfully
3 | Outside Temperature Test | PASSED | 2 | Outside Temperature alarm successfully
4 | Fan-Fail Test Test | PASSED | 2 | Fan 1 Wire removed successfully
OPERATOR: |  |  | APPROVED BY: