## IMONI-0047_TTiMBLE26000K004_24_
IMONI ASSEMBLY TEST REPORT
Report No: | iMoni-SRMS-0062
Assembly Sr. No. | TTiMGPE26000K036
DateTime: | 07/08/26 16:40:05
TestLevel: | iMoni Assembly
DeviceIP: | 192.168.0.65 | CPU Sr. No. | Base PCB Sr. No. | Camera Sr. No. | PSU Sr. No.
TotalTests: | 2 | 65 | 28 | 56 | LB/F/26/9139
Sr. No. | TestName | Status | Total Checks | Reason | Remarks
1 | Fire Alarm Test | PASSED | 3 | Fire alarm turned off successfully
2 | EM Lock through Keypad | PASSED | 3 | Door closed successfully
OPERATOR: |  |  | APPROVED BY: