## IMONI-0047_TTiMBLE26000K004_24_
IMONI ASSEMBLY TEST REPORT
Report No: | iMoni-SRMS-0072
Assembly Sr. No. | TTiMGPE26000K042
DateTime: | 08/08/26 12:51:53
TestLevel: | iMoni Assembly
DeviceIP: | 192.168.0.47 | CPU Sr. No. | Base PCB Sr. No. | Camera Sr. No. | PSU Sr. No.
TotalTests: | 5 | 47 | 30 | 50 | LB/F/26/9098
Sr. No. | TestName | Status | Total Checks | Reason | Remarks
1 | EM Lock through eMS | PASSED | 3 | Door closed successfully
2 | EM Lock through Keypad | FAILED | 2 | Door not opened
3 | Humidity Test | PASSED | 2 | Humidity alarm successfully
4 | Outside Temperature Test | PASSED | 2 | Outside Temperature alarm successfully
5 | Fan-Fail Test Test | PASSED | 2 | Fan 1 Wire removed successfully
OPERATOR: |  |  | APPROVED BY: