## IMONI-0047_TTiMBLE26000K004_24_
IMONI ASSEMBLY TEST REPORT
Report No: | iMoni-SRMS-0082
Assembly Sr. No. | TTiMGPE26000K047
DateTime: | 08/08/26 16:14:50
TestLevel: | iMoni Assembly
DeviceIP: | 192.168.0.72 | CPU Sr. No. | Base PCB Sr. No. | Camera Sr. No. | PSU Sr. No.
TotalTests: | 1 | 72 | 66 | 62 | LB/F/26/9108
Sr. No. | TestName | Status | Total Checks | Reason | Remarks
1 | Water Logging Test | PASSED | 3 | Water Logging alarm off successfully
OPERATOR: |  |  | APPROVED BY: