## IMONI-0047_TTiMBLE26000K004_24_
IMONI ASSEMBLY TEST REPORT
Report No: | iMoni-SRMS-0089
Assembly Sr. No. | TTiMBLE26000K017
DateTime: | 08/08/26 17:17:20
TestLevel: | iMoni Assembly
DeviceIP: | 192.168.0.44 | CPU Sr. No. | Base PCB Sr. No. | Camera Sr. No. | PSU Sr. No.
TotalTests: | 2 | 44 | 37 | NA | LB/D/26/1619
Sr. No. | TestName | Status | Total Checks | Reason | Remarks
1 | Limit Switch Test | PASSED | 3 | Door alarm went off successfully
2 | EM Lock through Keypad | PASSED | 3 | Door closed successfully
OPERATOR: |  |  | APPROVED BY: