## IMONI-0047_TTiMBLE26000K004_24_
IMONI ASSEMBLY TEST REPORT
Report No: | iMoni-SRMS-0096
Assembly Sr. No. | test_parallel
DateTime: | 10/08/26 14:22:37
TestLevel: | iMoni Assembly
DeviceIP: | 192.168.0.88 | CPU Sr. No. | Base PCB Sr. No. | Camera Sr. No. | PSU Sr. No.
TotalTests: | 10 | test | test | test | test
Sr. No. | TestName | Status | Total Checks | Reason | Remarks
1 | Fan Test | FAILED | 9 | Fan Group 1 not turned on
2 | Limit Switch Test | FAILED | 1 | Door is still open. Close the door first.
3 | Water Leakage Test | FAILED | 1 | Water Leakage already ON
4 | Water Logging Test | FAILED | 2 | Water Logging alarm not turned on
5 | Fan-Fail Test Test | FAILED | 1 | Fan 1 & 2 not started
6 | Fire Alarm Test | FAILED | 1 | Fire Alarm already ON
7 | Humidity Test | FAILED | 2 | Humidity alarm not turned on
8 | Outside Temperature Test | FAILED | 2 | Outside Temperature alarm not turned on
9 | EM Lock through eMS | FAILED | 2 | Door not opened
10 | EM Lock through Keypad | FAILED | 2 | Door not opened
OPERATOR: |  |  | APPROVED BY: