## IMONI-0047_TTiMBLE26000K004_24_
IMONI ASSEMBLY TEST REPORT
Report No: | iMoni-SRMS-0102
Assembly Sr. No. | test
DateTime: | 20/09/26 16:29:14
TestLevel: | iMoni Assembly
DeviceIP: | 192.168.0.1 | CPU Sr. No. | Base PCB Sr. No. | Camera Sr. No. | PSU Sr. No.
TotalTests: | 2 | test | test | test | test
Sr. No. | TestName | Status | Total Checks | Reason | Remarks
1 | Water Leakage Test | FAILED | 2 | Water Leakage alarm not turned on
2 | Water Logging Test | FAILED | 2 | Water Logging alarm not turned on
OPERATOR: |  |  | APPROVED BY: