## IMONI-0047_TTiMBLE26000K004_24_
IMONI ASSEMBLY TEST REPORT
Report No: | iMoni-SRMS-0005
Assembly Sr. No. | TTIMGPK0002
DateTime: | 22/06/26 18:28:24
TestLevel: | iMoni Assembly
DeviceIP: | 192.168.0.0 | CPU Sr. No. | Base PCB Sr. No. | Camera Sr. No. | PSU Sr. No.
TotalTests: | 1 | 0022 | 0043 | C4 | LB/26/1985
Sr. No. | TestName | Status | Total Checks | Reason | Remarks
1 | Water Leakage Test | FAILED | 2 | 3 | Water Leakage alarm not turned on