## IMONI-0047_TTiMBLE26000K004_24_
GREEN PCB TEST REPORT
Report No: | IMONI-0056
Unit Sr No: | TTiMGPK25000K002
DateTime: | 22/06/26 14:24:16
TestLevel: | Green PCB
TotalTests: | 2
Sr. No. | TestName | Status | FailedStep | TotalSteps | Reason | Remarks
1 | Fire Alarm Test | FAILED | 2 | 3 | Fire Alarm not turned on
2 | Water Logging Test | FAILED | 2 | 3 | Water Logging alarm not turned on