## IMONI-0047_TTiMBLE26000K004_24_
iMoni BASE PCB TEST REPORT
Report No: | iMoni-Base-0001
PCB Serial No. | NA
DateTime: | 22/06/26 19:01:18
TestLevel: | iMoni Base PCB
TotalTests: | 1
Sr. No. | TestName | Status | Total Checks | Reason | Remarks
1 | Humidity Sensor Test | PASSED | 1 | Humidity Sensor alarm successfully