## IMONI-0047_TTiMBLE26000K004_24_
iMoni BASE PCB TEST REPORT
Report No: | iMoni-Base-0004
PCB Serial No. | 0092
DateTime: | 03/08/26 13:19:30
TestLevel: | iMoni Base PCB
TotalTests: | 4
Sr. No. | TestName | Status | Total Checks | s | Remarks
1 | Fire Alarm Test | FAILED | 3 | Fire Alarm not turned on
2 | Water Logging Test | PASSED | 3 | Water Logging alarm off successfully
3 | Water Leakage Test | PASSED | 3 | Water Leakage alarm off successfully
4 | Limit Switch Test | PASSED | 3 | Door alarm went off successfully
PREPARED BY: |  |  | APPROVED BY: