## IMONI-0047_TTiMBLE26000K004_24_
iMoni BASE PCB TEST REPORT
Report No: | iMoni-Base-0010
PCB Serial No. | 98
DateTime: | 03/08/26 15:26:30
TestLevel: | iMoni Base PCB
TotalTests: | 1
Sr. No. | TestName | Status | Total Checks | s | Remarks
1 | Water Logging Test | FAILED | 3 | Water Logging alarm not turned off
PREPARED BY: |  |  | APPROVED BY: