## IMONI-0047_TTiMBLE26000K004_24_
iMoni BASE PCB TEST REPORT
Report No: | iMoni-Base-0011
PCB Serial No. | test
DateTime: | 12/08/26 22:05:15
TestLevel: | iMoni Base PCB
TotalTests: | 8
Sr. No. | TestName | Status | Total Checks | s | Remarks
1 | Visual Test | PASSED |  | Visual inspection passed successfully
2 | Burn-In Test | PASSED |  | Burn-In test passed successfully
3 | Fan Test | FAILED | 6 | Fan Group 1 not turned on
4 | Limit Switch Test | FAILED | 2 | Door alarm did not trigger within time
5 | Water Leakage Test | FAILED | 2 | Water Leakage alarm not turned on
6 | Water Logging Test | FAILED | 2 | Water Logging alarm not turned on
7 | Fire Alarm Test | FAILED | 1 | Fire Alarm already ON
8 | Outside Temperature Test | PASSED | 2 | Outside Temperature alarm successfully
PREPARED BY: |  |  | APPROVED BY: